volo/det1	detector 1 interferograms

det2	detector 2 interferograms

log     log files

slow	slow housekeeping

fast	fast howskeeping

tim

etc	analysis config files

uncal 	uncalibrated spectra

funcal	calibration stuff (functions and frequencies)

spectra	calibrated spectra

:det1 -> nnnndet1.dat 2 bytes unsigned binary

:det1 -> nnnndet2.dat 2 bytes unsigned binary

:log  -> nnnnlog.dat ascii data

:slow -> nnnnslow.dat 2 bytes unsigned

binary frame formatted (cfr. specs)

:fast -> nnnnfast.dat 2 bytes unsigned 16 columns formatted

:time -> det# like formatted

:etc -> 	fft.cfg (general config file)

fft.log

:uncal -> nnnnucl.dat uncalibrate spectra; ascii file

of 4 columns each (x Y) (x Y)

:funcal -> funcalnnnn.dat (valid up to interferogram nnnn)

amplitude calibration

kappa.dat

genfrq.dat (frequencies calibration)

:cal   -> calibrated spectra

?????????????????